## calibration
x_cm | y_cm | x_rec | y_rec | type | misc | out1 | out2 | x_px | y_px | xang | yang
|  |  |  | camera_name | slayer wide 16 to 9 cal 4
|  |  |  | lens_name | Native wide
|  |  |  | zoom_factor | None
|  |  |  | settings_notes | Nothing to say
|  | 4000 | 2250 | cam_image_dimensions
|  |  |  | pixel_map_type | 3d_degree_poly_fit_abs_from_center
|  |  |  | orientation | landscape
|  |  |  | quadrant | LB
|  |  |  | distance | 196.5
|  |  |  | targets_radius_cm | 10
0 | 0 | -1 | -1 | ref_point | image_center
0 | 0 |  |  | align | target_center
0 | -20 |  |  | ref_point | y_small
-20 | 0 |  |  | ref_point | x_small
0 | 0 |  |  | calculate_and_record | target_pos_xy_angs_relcenter
0 | -122.1 |  |  | ref_point | align_v_center
0 | -122.1 |  |  | align | align_v_left
0 | -122.1 |  |  | calculate_and_record | rotation_error_side_degCCW
-243.9 | 0 |  |  | ref_point | align_h_center
-243.9 | 0 |  |  | align | align_h_down
-243.9 | 0 |  |  | calculate_and_record | rotation_error_top_degCCW
|  |  |  | calculate_and_record | average_rotation_error_degCCW
0 | -40 |  |  | ref_point
0 | -60 |  |  | ref_point
0 | -80 |  |  | ref_point
0 | -100 |  |  | ref_point
-20 | -20 |  |  | ref_point
-20 | -40 |  |  | ref_point
-20 | -60 |  |  | ref_point
-20 | -80 |  |  | ref_point
-20 | -100 |  |  | ref_point
-20 | -122.1 |  |  | ref_point
-40 | 0 |  |  | ref_point
-40 | -20 |  |  | ref_point
-40 | -40 |  |  | ref_point
-40 | -60 |  |  | ref_point
-40 | -80 |  |  | ref_point
-40 | -100 |  |  | ref_point
-40 | -122.1 |  |  | ref_point
-60 | 0 |  |  | ref_point
-60 | -20 |  |  | ref_point
-60 | -40 |  |  | ref_point
-60 | -60 |  |  | ref_point
-60 | -80 |  |  | ref_point
-60 | -100 |  |  | ref_point
-60 | -122.1 |  |  | ref_point
-80 | 0 |  |  | ref_point
-80 | -20 |  |  | ref_point
-80 | -40 |  |  | ref_point
-80 | -60 |  |  | ref_point
-80 | -80 |  |  | ref_point
-80 | -100 |  |  | ref_point
-80 | -122.1 |  |  | ref_point
-100 | 0 |  |  | ref_point
-100 | -20 |  |  | ref_point
-100 | -40 |  |  | ref_point
-100 | -60 |  |  | ref_point
-100 | -80 |  |  | ref_point
-100 | -100 |  |  | ref_point
-100 | -122.1 |  |  | ref_point
-120 | 0 |  |  | ref_point
-120 | -20 |  |  | ref_point
-120 | -40 |  |  | ref_point
-120 | -60 |  |  | ref_point
-120 | -80 |  |  | ref_point
-120 | -100 |  |  | ref_point
-120 | -122.1 |  |  | ref_point
-140 | 0 |  |  | ref_point
-140 | -20 |  |  | ref_point
-140 | -40 |  |  | ref_point
-140 | -60 |  |  | ref_point
-140 | -80 |  |  | ref_point
-140 | -100 |  |  | ref_point
-140 | -122.1 |  |  | ref_point
-160 | 0 |  |  | ref_point
-160 | -20 |  |  | ref_point
-160 | -40 |  |  | ref_point
-160 | -60 |  |  | ref_point
-160 | -80 |  |  | ref_point
-160 | -100 |  |  | ref_point
-160 | -122.1 |  |  | ref_point
-180 | 0 |  |  | ref_point
-180 | -20 |  |  | ref_point
-180 | -40 |  |  | ref_point
-180 | -60 |  |  | ref_point
-180 | -80 |  |  | ref_point
-180 | -100 |  |  | ref_point
-180 | -122.1 |  |  | ref_point
-200 | 0 |  |  | ref_point
-200 | -20 |  |  | ref_point
-200 | -40 |  |  | ref_point
-200 | -60 |  |  | ref_point
-200 | -80 |  |  | ref_point
-200 | -100 |  |  | ref_point
-200 | -122.1 |  |  | ref_point
-220 | 0 |  |  | ref_point
-220 | -20 |  |  | ref_point
-220 | -40 |  |  | ref_point
-220 | -60 |  |  | ref_point
-220 | -80 |  |  | ref_point
-220 | -100 |  |  | ref_point
-220 | -122.1 |  |  | ref_point
-243.9 | -20 |  |  | ref_point
-243.9 | -40 |  |  | ref_point
-243.9 | -60 |  |  | ref_point
-243.9 | -80 |  |  | ref_point
-243.9 | -100 |  |  | ref_point
-243.9 | -122.1 |  |  | ref_point