## calibration
xang_sect | yang_sect | xang_rel | yang_rel | x_rec | y_rec | type | misc | out1 | out2 | xang_total | yang_total | x_px | y_px | xang | yang
[6 empty] | camera_name | Slayer 0.5 Zoom
|  |  |  | 4000 | 3000 | sensor_dimensions
[6 empty] | lens_name | Native
zoom_factor
settings_notes
|  |  |  | 4000 | 2250 | cal_image_dimensions
[6 empty] | pixel_map_type | 3d_degree_poly_fit_abs_from_center
[6 empty] | orientation | portrait
[6 empty] | quadrant | LB
[6 empty] | targets_diameter | 1
0 | 0 | 0 | 0 | -1 | -1 | ref_point | image_center
0 | 0 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
0 | 0 | 0 | 0 | 1121 | 2004 | align | target_center
0 | 0 | 0 | 0 | 1122 | 1989 | align | target_top
0 | 0 | 0 | 0 | 1122 | 2020 | align | target_bottom
0 | 0 | 0 | 0 | 1106 | 2004 | align | target_left
0 | 0 | 0 | 0 | 1137 | 2004 | align | target_right
0 | 0 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
0 | 0 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
0 | 0 | 0 | -20 | 1110 | 2654 | align | vertical_left
0 | 0 | 0 | -20 | 1143 | 2653 | align | vertical_right
0 | 0 | 0 | -20 | 1126 | 2653 | ref_point | center
0 | 0 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
0 | 0 | 0 | -20 |  |  | calculate_and_record | crosshairs
0 | 0 | -15 | 0 | 644 | 1991 | align | horizontal_top
0 | 0 | -15 | 0 | 643 | 2022 | align | horizontal_bottom
0 | 0 | -15 | 0 | 643 | 2006 | ref_point | center
0 | 0 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
0 | 0 | -15 | 0 |  |  | calculate_and_record | crosshairs
0 | 0 | 0 | -5 | 1123 | 2160 | ref_point
0 | 0 | 0 | -10 | 1125 | 2320 | ref_point
0 | 0 | 0 | -15 | 1126 | 2482 | ref_point
0 | 0 | -5 | 0 | 965 | 2004 | ref_point
0 | 0 | -5 | -5 | 967 | 2160 | ref_point
0 | 0 | -5 | -10 | 969 | 2320 | ref_point
0 | 0 | -5 | -15 | 970 | 2482 | ref_point
0 | 0 | -10 | 0 | 806 | 2006 | ref_point
0 | 0 | -10 | -5 | 808 | 2162 | ref_point
0 | 0 | -10 | -10 | 810 | 2321 | ref_point
0 | 0 | -10 | -15 | 811 | 2483 | ref_point
0 | -20 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
0 | -20 | 0 | 0 | 1150 | 2660 | align | target_center
0 | -20 | 0 | 0 | 1150 | 2643 | align | target_top
0 | -20 | 0 | 0 | 1150 | 2678 | align | target_bottom
0 | -20 | 0 | 0 | 1133 | 2659 | align | target_left
0 | -20 | 0 | 0 | 1167 | 2660 | align | target_right
0 | -20 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
0 | -20 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
0 | -20 | 0 | -20 | 1114 | 3496 | align | vertical_left
0 | -20 | 0 | -20 | 1154 | 3494 | align | vertical_right
0 | -20 | 0 | -20 | 1133 | 3493 | ref_point | center
0 | -20 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
0 | -20 | 0 | -20 |  |  | calculate_and_record | crosshairs
0 | -20 | -15 | 0 | 653 | 2630 | align | horizontal_top
0 | -20 | -15 | 0 | 652 | 2665 | align | horizontal_bottom
0 | -20 | -15 | 0 | 652 | 2647 | ref_point | center
0 | -20 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
0 | -20 | -15 | 0 |  |  | calculate_and_record | crosshairs
0 | -20 | 0 | -5 | 1146 | 2840 | ref_point
0 | -20 | 0 | -10 | 1143 | 3036 | ref_point
0 | -20 | 0 | -15 | 1139 | 3250 | ref_point
0 | -20 | -5 | 0 | 987 | 2655 | ref_point
0 | -20 | -5 | -5 | 978 | 2834 | ref_point
0 | -20 | -5 | -10 | 969 | 3030 | ref_point
0 | -20 | -5 | -15 | 959 | 3243 | ref_point
0 | -20 | -10 | 0 | 821 | 2652 | ref_point
0 | -20 | -10 | -5 | 807 | 2831 | ref_point
0 | -20 | -10 | -10 | 792 | 3025 | ref_point
0 | -20 | -10 | -15 | 776 | 3238 | ref_point
0 | -40 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
0 | -40 | 0 | 0 | 1175 | 3570 | align | target_center
0 | -40 | 0 | 0 | 1176 | 3542 | align | target_top
0 | -40 | 0 | 0 | 1175 | 3597 | align | target_bottom
0 | -40 | 0 | 0 | 1155 | 3568 | align | target_left
0 | -40 | 0 | 0 | 1195 | 3571 | align | target_right
0 | -40 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
0 | -40 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
0 | -40 | 0 | -20 |  |  | align | vertical_left
0 | -40 | 0 | -20 |  |  | align | vertical_right
0 | -40 | 0 | -20 |  |  | ref_point | center
0 | -40 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
0 | -40 | 0 | -20 |  |  | calculate_and_record | crosshairs
0 | -40 | -15 | 0 | 566 | 3497 | align | horizontal_top
0 | -40 | -15 | 0 | 555 | 3552 | align | horizontal_bottom
0 | -40 | -15 | 0 | 561 | 3523 | ref_point | center
0 | -40 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
0 | -40 | -15 | 0 |  |  | calculate_and_record | crosshairs
0 | -40 | 0 | -5 | 1167 | 3862 | ref_point
0 | -40 | 0 | -10 |  |  | ref_point
0 | -40 | 0 | -15 |  |  | ref_point
0 | -40 | -5 | 0 | 973 | 3553 | ref_point
0 | -40 | -5 | -5 | 947 | 3842 | ref_point
0 | -40 | -5 | -10 |  |  | ref_point
0 | -40 | -5 | -15 |  |  | ref_point
0 | -40 | -10 | 0 | 768 | 3539 | ref_point
0 | -40 | -10 | -5 | 725 | 3827 | ref_point
0 | -40 | -10 | -10 |  |  | ref_point
0 | -40 | -10 | -15 |  |  | ref_point
0 | -60 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
0 | -60 | 0 | 0 |  |  | align | target_center
0 | -60 | 0 | 0 |  |  | align | target_top
0 | -60 | 0 | 0 |  |  | align | target_bottom
0 | -60 | 0 | 0 |  |  | align | target_left
0 | -60 | 0 | 0 |  |  | align | target_right
0 | -60 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
0 | -60 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
0 | -60 | 0 | -20 |  |  | align | vertical_left
0 | -60 | 0 | -20 |  |  | align | vertical_right
0 | -60 | 0 | -20 |  |  | ref_point | center
0 | -60 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
0 | -60 | 0 | -20 |  |  | calculate_and_record | crosshairs
0 | -60 | -15 | 0 |  |  | align | horizontal_top
0 | -60 | -15 | 0 |  |  | align | horizontal_bottom
0 | -60 | -15 | 0 |  |  | ref_point | center
0 | -60 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
0 | -60 | -15 | 0 |  |  | calculate_and_record | crosshairs
0 | -60 | 0 | -5 |  |  | ref_point
0 | -60 | 0 | -10 |  |  | ref_point
0 | -60 | 0 | -15 |  |  | ref_point
0 | -60 | -5 | 0 |  |  | ref_point
0 | -60 | -5 | -5 |  |  | ref_point
0 | -60 | -5 | -10 |  |  | ref_point
0 | -60 | -5 | -15 |  |  | ref_point
0 | -60 | -10 | 0 |  |  | ref_point
0 | -60 | -10 | -5 |  |  | ref_point
0 | -60 | -10 | -10 |  |  | ref_point
0 | -60 | -10 | -15 |  |  | ref_point
0 | -80 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
0 | -80 | 0 | 0 |  |  | align | target_center
0 | -80 | 0 | 0 |  |  | align | target_top
0 | -80 | 0 | 0 |  |  | align | target_bottom
0 | -80 | 0 | 0 |  |  | align | target_left
0 | -80 | 0 | 0 |  |  | align | target_right
0 | -80 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
0 | -80 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
0 | -80 | 0 | -20 |  |  | align | vertical_left
0 | -80 | 0 | -20 |  |  | align | vertical_right
0 | -80 | 0 | -20 |  |  | ref_point | center
0 | -80 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
0 | -80 | 0 | -20 |  |  | calculate_and_record | crosshairs
0 | -80 | -15 | 0 |  |  | align | horizontal_top
0 | -80 | -15 | 0 |  |  | align | horizontal_bottom
0 | -80 | -15 | 0 |  |  | ref_point | center
0 | -80 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
0 | -80 | -15 | 0 |  |  | calculate_and_record | crosshairs
0 | -80 | 0 | -5 |  |  | ref_point
0 | -80 | 0 | -10 |  |  | ref_point
0 | -80 | 0 | -15 |  |  | ref_point
0 | -80 | -5 | 0 |  |  | ref_point
0 | -80 | -5 | -5 |  |  | ref_point
0 | -80 | -5 | -10 |  |  | ref_point
0 | -80 | -5 | -15 |  |  | ref_point
0 | -80 | -10 | 0 |  |  | ref_point
0 | -80 | -10 | -5 |  |  | ref_point
0 | -80 | -10 | -10 |  |  | ref_point
0 | -80 | -10 | -15 |  |  | ref_point
-15 | 0 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-15 | 0 | 0 | 0 | 627 | 2012 | align | target_center
-15 | 0 | 0 | 0 | 627 | 1996 | align | target_top
-15 | 0 | 0 | 0 | 627 | 2028 | align | target_bottom
-15 | 0 | 0 | 0 | 610 | 2011 | align | target_left
-15 | 0 | 0 | 0 | 644 | 2011 | align | target_right
-15 | 0 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-15 | 0 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-15 | 0 | 0 | -20 | 603 | 2685 | align | vertical_left
-15 | 0 | 0 | -20 | 638 | 2682 | align | vertical_right
-15 | 0 | 0 | -20 | 620 | 2683 | ref_point | center
-15 | 0 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-15 | 0 | 0 | -20 |  |  | calculate_and_record | crosshairs
-15 | 0 | -15 | 0 | 70 | 1989 | align | horizontal_top
-15 | 0 | -15 | 0 | 69 | 2025 | align | horizontal_bottom
-15 | 0 | -15 | 0 | 69 | 2006 | ref_point | center
-15 | 0 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-15 | 0 | -15 | 0 |  |  | calculate_and_record | crosshairs
-15 | 0 | 0 | -5 | 625 | 2173 | ref_point
-15 | 0 | 0 | -10 | 624 | 2338 | ref_point
-15 | 0 | 0 | -15 | 622 | 2507 | ref_point
-15 | 0 | -5 | 0 | 453 | 2010 | ref_point
-15 | 0 | -5 | -5 | 453 | 2176 | ref_point
-15 | 0 | -5 | -10 | 452 | 2344 | ref_point
-15 | 0 | -5 | -15 | 450 | 2515 | ref_point
-15 | 0 | -10 | 0 | 269 | 2008 | ref_point
-15 | 0 | -10 | -5 | 268 | 2178 | ref_point
-15 | 0 | -10 | -10 | 267 | 2351 | ref_point
-15 | 0 | -10 | -15 | 267 | 2527 | ref_point
-15 | -20 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-15 | -20 | 0 | 0 | 667 | 2684 | align | target_center
-15 | -20 | 0 | 0 | 668 | 2666 | align | target_top
-15 | -20 | 0 | 0 | 666 | 2702 | align | target_bottom
-15 | -20 | 0 | 0 | 649 | 2684 | align | target_left
-15 | -20 | 0 | 0 | 684 | 2683 | align | target_right
-15 | -20 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-15 | -20 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-15 | -20 | 0 | -20 | 611 | 3544 | align | vertical_left
-15 | -20 | 0 | -20 | 655 | 3539 | align | vertical_right
-15 | -20 | 0 | -20 | 633 | 3541 | ref_point | center
-15 | -20 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-15 | -20 | 0 | -20 |  |  | calculate_and_record | crosshairs
-15 | -20 | -15 | 0 | 96 | 2693 | align | horizontal_top
-15 | -20 | -15 | 0 | 91 | 2732 | align | horizontal_bottom
-15 | -20 | -15 | 0 | 93 | 2712 | ref_point | center
-15 | -20 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-15 | -20 | -15 | 0 |  |  | calculate_and_record | crosshairs
-15 | -20 | 0 | -5 | 659 | 2870 | ref_point
-15 | -20 | 0 | -10 | 652 | 3073 | ref_point
-15 | -20 | 0 | -15 | 643 | 3292 | ref_point
-15 | -20 | -5 | 0 | 488 | 2693 | ref_point
-15 | -20 | -5 | -5 | 475 | 2882 | ref_point
-15 | -20 | -5 | -10 | 462 | 3090 | ref_point
-15 | -20 | -5 | -15 | 447 | 3316 | ref_point
-15 | -20 | -10 | 0 | 298 | 2703 | ref_point
-15 | -20 | -10 | -5 | 279 | 2898 | ref_point
-15 | -20 | -10 | -10 | 259 | 3109 | ref_point
-15 | -20 | -10 | -15 | 236 | 3342 | ref_point
-15 | -40 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-15 | -40 | 0 | 0 | 650 | 3519 | align | target_center
-15 | -40 | 0 | 0 | 652 | 3494 | align | target_top
-15 | -40 | 0 | 0 | 648 | 3546 | align | target_bottom
-15 | -40 | 0 | 0 | 629 | 3521 | align | target_left
-15 | -40 | 0 | 0 | 671 | 3517 | align | target_right
-15 | -40 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-15 | -40 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-15 | -40 | 0 | -20 |  |  | align | vertical_left
-15 | -40 | 0 | -20 |  |  | align | vertical_right
-15 | -40 | 0 | -20 |  |  | ref_point | center
-15 | -40 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-15 | -40 | 0 | -20 |  |  | calculate_and_record | crosshairs
-15 | -40 | -15 | 0 |  |  | align | horizontal_top
-15 | -40 | -15 | 0 |  |  | align | horizontal_bottom
-15 | -40 | -15 | 0 |  |  | ref_point | center
-15 | -40 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-15 | -40 | -15 | 0 |  |  | calculate_and_record | crosshairs
-15 | -40 | 0 | -5 | 623 | 3797 | ref_point
-15 | -40 | 0 | -10 |  |  | ref_point
-15 | -40 | 0 | -15 |  |  | ref_point
-15 | -40 | -5 | 0 | 442 | 3529 | ref_point
-15 | -40 | -5 | -5 | 400 | 3813 | ref_point
-15 | -40 | -5 | -10 |  |  | ref_point
-15 | -40 | -5 | -15 |  |  | ref_point
-15 | -40 | -10 | 0 | 222 | 3543 | ref_point
-15 | -40 | -10 | -5 | 162 | 3837 | ref_point
-15 | -40 | -10 | -10 |  |  | ref_point
-15 | -40 | -10 | -15 |  |  | ref_point
-15 | -60 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-15 | -60 | 0 | 0 |  |  | align | target_center
-15 | -60 | 0 | 0 |  |  | align | target_top
-15 | -60 | 0 | 0 |  |  | align | target_bottom
-15 | -60 | 0 | 0 |  |  | align | target_left
-15 | -60 | 0 | 0 |  |  | align | target_right
-15 | -60 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-15 | -60 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-15 | -60 | 0 | -20 |  |  | align | vertical_left
-15 | -60 | 0 | -20 |  |  | align | vertical_right
-15 | -60 | 0 | -20 |  |  | ref_point | center
-15 | -60 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-15 | -60 | 0 | -20 |  |  | calculate_and_record | crosshairs
-15 | -60 | -15 | 0 |  |  | align | horizontal_top
-15 | -60 | -15 | 0 |  |  | align | horizontal_bottom
-15 | -60 | -15 | 0 |  |  | ref_point | center
-15 | -60 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-15 | -60 | -15 | 0 |  |  | calculate_and_record | crosshairs
-15 | -60 | 0 | -5 |  |  | ref_point
-15 | -60 | 0 | -10 |  |  | ref_point
-15 | -60 | 0 | -15 |  |  | ref_point
-15 | -60 | -5 | 0 |  |  | ref_point
-15 | -60 | -5 | -5 |  |  | ref_point
-15 | -60 | -5 | -10 |  |  | ref_point
-15 | -60 | -5 | -15 |  |  | ref_point
-15 | -60 | -10 | 0 |  |  | ref_point
-15 | -60 | -10 | -5 |  |  | ref_point
-15 | -60 | -10 | -10 |  |  | ref_point
-15 | -60 | -10 | -15 |  |  | ref_point
-15 | -80 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-15 | -80 | 0 | 0 |  |  | align | target_center
-15 | -80 | 0 | 0 |  |  | align | target_top
-15 | -80 | 0 | 0 |  |  | align | target_bottom
-15 | -80 | 0 | 0 |  |  | align | target_left
-15 | -80 | 0 | 0 |  |  | align | target_right
-15 | -80 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-15 | -80 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-15 | -80 | 0 | -20 |  |  | align | vertical_left
-15 | -80 | 0 | -20 |  |  | align | vertical_right
-15 | -80 | 0 | -20 |  |  | ref_point | center
-15 | -80 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-15 | -80 | 0 | -20 |  |  | calculate_and_record | crosshairs
-15 | -80 | -15 | 0 |  |  | align | horizontal_top
-15 | -80 | -15 | 0 |  |  | align | horizontal_bottom
-15 | -80 | -15 | 0 |  |  | ref_point | center
-15 | -80 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-15 | -80 | -15 | 0 |  |  | calculate_and_record | crosshairs
-15 | -80 | 0 | -5 |  |  | ref_point
-15 | -80 | 0 | -10 |  |  | ref_point
-15 | -80 | 0 | -15 |  |  | ref_point
-15 | -80 | -5 | 0 |  |  | ref_point
-15 | -80 | -5 | -5 |  |  | ref_point
-15 | -80 | -5 | -10 |  |  | ref_point
-15 | -80 | -5 | -15 |  |  | ref_point
-15 | -80 | -10 | 0 |  |  | ref_point
-15 | -80 | -10 | -5 |  |  | ref_point
-15 | -80 | -10 | -10 |  |  | ref_point
-15 | -80 | -10 | -15 |  |  | ref_point
-30 | 0 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-30 | 0 | 0 | 0 | 55 | 2000 | align | target_center
-30 | 0 | 0 | 0 | 55 | 1983 | align | target_top
-30 | 0 | 0 | 0 | 55 | 2018 | align | target_bottom
-30 | 0 | 0 | 0 | 34 | 1999 | align | target_left
-30 | 0 | 0 | 0 | 76 | 2000 | align | target_right
-30 | 0 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-30 | 0 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-30 | 0 | 0 | -20 | 35 | 2747 | align | vertical_left
-30 | 0 | 0 | -20 | 81 | 2741 | align | vertical_right
-30 | 0 | 0 | -20 | 57 | 2743 | ref_point | center
-30 | 0 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-30 | 0 | 0 | -20 |  |  | calculate_and_record | crosshairs
-30 | 0 | -15 | 0 |  |  | align | horizontal_top
-30 | 0 | -15 | 0 |  |  | align | horizontal_bottom
-30 | 0 | -15 | 0 |  |  | ref_point | center
-30 | 0 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-30 | 0 | -15 | 0 |  |  | calculate_and_record | crosshairs
-30 | 0 | 0 | -5 | 56 | 2179 | ref_point
-30 | 0 | 0 | -10 | 57 | 2362 | ref_point
-30 | 0 | 0 | -15 | 58 | 2548 | ref_point
-30 | 0 | -5 | 0 |  |  | ref_point
-30 | 0 | -5 | -5 |  |  | ref_point
-30 | 0 | -5 | -10 |  |  | ref_point
-30 | 0 | -5 | -15 |  |  | ref_point
-30 | 0 | -10 | 0 |  |  | ref_point
-30 | 0 | -10 | -5 |  |  | ref_point
-30 | 0 | -10 | -10 |  |  | ref_point
-30 | 0 | -10 | -15 |  |  | ref_point
-30 | -20 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-30 | -20 | 0 | 0 |  |  | align | target_center
-30 | -20 | 0 | 0 |  |  | align | target_top
-30 | -20 | 0 | 0 |  |  | align | target_bottom
-30 | -20 | 0 | 0 |  |  | align | target_left
-30 | -20 | 0 | 0 |  |  | align | target_right
-30 | -20 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-30 | -20 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-30 | -20 | 0 | -20 |  |  | align | vertical_left
-30 | -20 | 0 | -20 |  |  | align | vertical_right
-30 | -20 | 0 | -20 |  |  | ref_point | center
-30 | -20 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-30 | -20 | 0 | -20 |  |  | calculate_and_record | crosshairs
-30 | -20 | -15 | 0 |  |  | align | horizontal_top
-30 | -20 | -15 | 0 |  |  | align | horizontal_bottom
-30 | -20 | -15 | 0 |  |  | ref_point | center
-30 | -20 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-30 | -20 | -15 | 0 |  |  | calculate_and_record | crosshairs
-30 | -20 | 0 | -5 |  |  | ref_point
-30 | -20 | 0 | -10 |  |  | ref_point
-30 | -20 | 0 | -15 |  |  | ref_point
-30 | -20 | -5 | 0 |  |  | ref_point
-30 | -20 | -5 | -5 |  |  | ref_point
-30 | -20 | -5 | -10 |  |  | ref_point
-30 | -20 | -5 | -15 |  |  | ref_point
-30 | -20 | -10 | 0 |  |  | ref_point
-30 | -20 | -10 | -5 |  |  | ref_point
-30 | -20 | -10 | -10 |  |  | ref_point
-30 | -20 | -10 | -15 |  |  | ref_point
-30 | -40 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-30 | -40 | 0 | 0 |  |  | align | target_center
-30 | -40 | 0 | 0 |  |  | align | target_top
-30 | -40 | 0 | 0 |  |  | align | target_bottom
-30 | -40 | 0 | 0 |  |  | align | target_left
-30 | -40 | 0 | 0 |  |  | align | target_right
-30 | -40 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-30 | -40 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-30 | -40 | 0 | -20 |  |  | align | vertical_left
-30 | -40 | 0 | -20 |  |  | align | vertical_right
-30 | -40 | 0 | -20 |  |  | ref_point | center
-30 | -40 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-30 | -40 | 0 | -20 |  |  | calculate_and_record | crosshairs
-30 | -40 | -15 | 0 |  |  | align | horizontal_top
-30 | -40 | -15 | 0 |  |  | align | horizontal_bottom
-30 | -40 | -15 | 0 |  |  | ref_point | center
-30 | -40 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-30 | -40 | -15 | 0 |  |  | calculate_and_record | crosshairs
-30 | -40 | 0 | -5 |  |  | ref_point
-30 | -40 | 0 | -10 |  |  | ref_point
-30 | -40 | 0 | -15 |  |  | ref_point
-30 | -40 | -5 | 0 |  |  | ref_point
-30 | -40 | -5 | -5 |  |  | ref_point
-30 | -40 | -5 | -10 |  |  | ref_point
-30 | -40 | -5 | -15 |  |  | ref_point
-30 | -40 | -10 | 0 |  |  | ref_point
-30 | -40 | -10 | -5 |  |  | ref_point
-30 | -40 | -10 | -10 |  |  | ref_point
-30 | -40 | -10 | -15 |  |  | ref_point
-30 | -60 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-30 | -60 | 0 | 0 |  |  | align | target_center
-30 | -60 | 0 | 0 |  |  | align | target_top
-30 | -60 | 0 | 0 |  |  | align | target_bottom
-30 | -60 | 0 | 0 |  |  | align | target_left
-30 | -60 | 0 | 0 |  |  | align | target_right
-30 | -60 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-30 | -60 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-30 | -60 | 0 | -20 |  |  | align | vertical_left
-30 | -60 | 0 | -20 |  |  | align | vertical_right
-30 | -60 | 0 | -20 |  |  | ref_point | center
-30 | -60 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-30 | -60 | 0 | -20 |  |  | calculate_and_record | crosshairs
-30 | -60 | -15 | 0 |  |  | align | horizontal_top
-30 | -60 | -15 | 0 |  |  | align | horizontal_bottom
-30 | -60 | -15 | 0 |  |  | ref_point | center
-30 | -60 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-30 | -60 | -15 | 0 |  |  | calculate_and_record | crosshairs
-30 | -60 | 0 | -5 |  |  | ref_point
-30 | -60 | 0 | -10 |  |  | ref_point
-30 | -60 | 0 | -15 |  |  | ref_point
-30 | -60 | -5 | 0 |  |  | ref_point
-30 | -60 | -5 | -5 |  |  | ref_point
-30 | -60 | -5 | -10 |  |  | ref_point
-30 | -60 | -5 | -15 |  |  | ref_point
-30 | -60 | -10 | 0 |  |  | ref_point
-30 | -60 | -10 | -5 |  |  | ref_point
-30 | -60 | -10 | -10 |  |  | ref_point
-30 | -60 | -10 | -15 |  |  | ref_point
-30 | -80 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-30 | -80 | 0 | 0 |  |  | align | target_center
-30 | -80 | 0 | 0 |  |  | align | target_top
-30 | -80 | 0 | 0 |  |  | align | target_bottom
-30 | -80 | 0 | 0 |  |  | align | target_left
-30 | -80 | 0 | 0 |  |  | align | target_right
-30 | -80 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-30 | -80 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-30 | -80 | 0 | -20 |  |  | align | vertical_left
-30 | -80 | 0 | -20 |  |  | align | vertical_right
-30 | -80 | 0 | -20 |  |  | ref_point | center
-30 | -80 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-30 | -80 | 0 | -20 |  |  | calculate_and_record | crosshairs
-30 | -80 | -15 | 0 |  |  | align | horizontal_top
-30 | -80 | -15 | 0 |  |  | align | horizontal_bottom
-30 | -80 | -15 | 0 |  |  | ref_point | center
-30 | -80 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-30 | -80 | -15 | 0 |  |  | calculate_and_record | crosshairs
-30 | -80 | 0 | -5 |  |  | ref_point
-30 | -80 | 0 | -10 |  |  | ref_point
-30 | -80 | 0 | -15 |  |  | ref_point
-30 | -80 | -5 | 0 |  |  | ref_point
-30 | -80 | -5 | -5 |  |  | ref_point
-30 | -80 | -5 | -10 |  |  | ref_point
-30 | -80 | -5 | -15 |  |  | ref_point
-30 | -80 | -10 | 0 |  |  | ref_point
-30 | -80 | -10 | -5 |  |  | ref_point
-30 | -80 | -10 | -10 |  |  | ref_point
-30 | -80 | -10 | -15 |  |  | ref_point
-45 | 0 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-45 | 0 | 0 | 0 |  |  | align | target_center
-45 | 0 | 0 | 0 |  |  | align | target_top
-45 | 0 | 0 | 0 |  |  | align | target_bottom
-45 | 0 | 0 | 0 |  |  | align | target_left
-45 | 0 | 0 | 0 |  |  | align | target_right
-45 | 0 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-45 | 0 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-45 | 0 | 0 | -20 |  |  | align | vertical_left
-45 | 0 | 0 | -20 |  |  | align | vertical_right
-45 | 0 | 0 | -20 |  |  | ref_point | center
-45 | 0 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-45 | 0 | 0 | -20 |  |  | calculate_and_record | crosshairs
-45 | 0 | -15 | 0 |  |  | align | horizontal_top
-45 | 0 | -15 | 0 |  |  | align | horizontal_bottom
-45 | 0 | -15 | 0 |  |  | ref_point | center
-45 | 0 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-45 | 0 | -15 | 0 |  |  | calculate_and_record | crosshairs
-45 | 0 | 0 | -5 |  |  | ref_point
-45 | 0 | 0 | -10 |  |  | ref_point
-45 | 0 | 0 | -15 |  |  | ref_point
-45 | 0 | -5 | 0 |  |  | ref_point
-45 | 0 | -5 | -5 |  |  | ref_point
-45 | 0 | -5 | -10 |  |  | ref_point
-45 | 0 | -5 | -15 |  |  | ref_point
-45 | 0 | -10 | 0 |  |  | ref_point
-45 | 0 | -10 | -5 |  |  | ref_point
-45 | 0 | -10 | -10 |  |  | ref_point
-45 | 0 | -10 | -15 |  |  | ref_point
-45 | -20 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-45 | -20 | 0 | 0 |  |  | align | target_center
-45 | -20 | 0 | 0 |  |  | align | target_top
-45 | -20 | 0 | 0 |  |  | align | target_bottom
-45 | -20 | 0 | 0 |  |  | align | target_left
-45 | -20 | 0 | 0 |  |  | align | target_right
-45 | -20 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-45 | -20 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-45 | -20 | 0 | -20 |  |  | align | vertical_left
-45 | -20 | 0 | -20 |  |  | align | vertical_right
-45 | -20 | 0 | -20 |  |  | ref_point | center
-45 | -20 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-45 | -20 | 0 | -20 |  |  | calculate_and_record | crosshairs
-45 | -20 | -15 | 0 |  |  | align | horizontal_top
-45 | -20 | -15 | 0 |  |  | align | horizontal_bottom
-45 | -20 | -15 | 0 |  |  | ref_point | center
-45 | -20 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-45 | -20 | -15 | 0 |  |  | calculate_and_record | crosshairs
-45 | -20 | 0 | -5 |  |  | ref_point
-45 | -20 | 0 | -10 |  |  | ref_point
-45 | -20 | 0 | -15 |  |  | ref_point
-45 | -20 | -5 | 0 |  |  | ref_point
-45 | -20 | -5 | -5 |  |  | ref_point
-45 | -20 | -5 | -10 |  |  | ref_point
-45 | -20 | -5 | -15 |  |  | ref_point
-45 | -20 | -10 | 0 |  |  | ref_point
-45 | -20 | -10 | -5 |  |  | ref_point
-45 | -20 | -10 | -10 |  |  | ref_point
-45 | -20 | -10 | -15 |  |  | ref_point
-45 | -40 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-45 | -40 | 0 | 0 |  |  | align | target_center
-45 | -40 | 0 | 0 |  |  | align | target_top
-45 | -40 | 0 | 0 |  |  | align | target_bottom
-45 | -40 | 0 | 0 |  |  | align | target_left
-45 | -40 | 0 | 0 |  |  | align | target_right
-45 | -40 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-45 | -40 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-45 | -40 | 0 | -20 |  |  | align | vertical_left
-45 | -40 | 0 | -20 |  |  | align | vertical_right
-45 | -40 | 0 | -20 |  |  | ref_point | center
-45 | -40 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-45 | -40 | 0 | -20 |  |  | calculate_and_record | crosshairs
-45 | -40 | -15 | 0 |  |  | align | horizontal_top
-45 | -40 | -15 | 0 |  |  | align | horizontal_bottom
-45 | -40 | -15 | 0 |  |  | ref_point | center
-45 | -40 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-45 | -40 | -15 | 0 |  |  | calculate_and_record | crosshairs
-45 | -40 | 0 | -5 |  |  | ref_point
-45 | -40 | 0 | -10 |  |  | ref_point
-45 | -40 | 0 | -15 |  |  | ref_point
-45 | -40 | -5 | 0 |  |  | ref_point
-45 | -40 | -5 | -5 |  |  | ref_point
-45 | -40 | -5 | -10 |  |  | ref_point
-45 | -40 | -5 | -15 |  |  | ref_point
-45 | -40 | -10 | 0 |  |  | ref_point
-45 | -40 | -10 | -5 |  |  | ref_point
-45 | -40 | -10 | -10 |  |  | ref_point
-45 | -40 | -10 | -15 |  |  | ref_point
-45 | -60 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-45 | -60 | 0 | 0 |  |  | align | target_center
-45 | -60 | 0 | 0 |  |  | align | target_top
-45 | -60 | 0 | 0 |  |  | align | target_bottom
-45 | -60 | 0 | 0 |  |  | align | target_left
-45 | -60 | 0 | 0 |  |  | align | target_right
-45 | -60 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-45 | -60 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-45 | -60 | 0 | -20 |  |  | align | vertical_left
-45 | -60 | 0 | -20 |  |  | align | vertical_right
-45 | -60 | 0 | -20 |  |  | ref_point | center
-45 | -60 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-45 | -60 | 0 | -20 |  |  | calculate_and_record | crosshairs
-45 | -60 | -15 | 0 |  |  | align | horizontal_top
-45 | -60 | -15 | 0 |  |  | align | horizontal_bottom
-45 | -60 | -15 | 0 |  |  | ref_point | center
-45 | -60 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-45 | -60 | -15 | 0 |  |  | calculate_and_record | crosshairs
-45 | -60 | 0 | -5 |  |  | ref_point
-45 | -60 | 0 | -10 |  |  | ref_point
-45 | -60 | 0 | -15 |  |  | ref_point
-45 | -60 | -5 | 0 |  |  | ref_point
-45 | -60 | -5 | -5 |  |  | ref_point
-45 | -60 | -5 | -10 |  |  | ref_point
-45 | -60 | -5 | -15 |  |  | ref_point
-45 | -60 | -10 | 0 |  |  | ref_point
-45 | -60 | -10 | -5 |  |  | ref_point
-45 | -60 | -10 | -10 |  |  | ref_point
-45 | -60 | -10 | -15 |  |  | ref_point
-45 | -80 | 0 | 0 |  |  | calculate_and_record | this_section_crosshairs
-45 | -80 | 0 | 0 |  |  | align | target_center
-45 | -80 | 0 | 0 |  |  | align | target_top
-45 | -80 | 0 | 0 |  |  | align | target_bottom
-45 | -80 | 0 | 0 |  |  | align | target_left
-45 | -80 | 0 | 0 |  |  | align | target_right
-45 | -80 | 0 | 0 |  |  | calculate_and_record | target_pos_xyangs_relaim
-45 | -80 | 0 | 0 |  |  | calculate_and_record | target_center_calculated_from_edges
-45 | -80 | 0 | -20 |  |  | align | vertical_left
-45 | -80 | 0 | -20 |  |  | align | vertical_right
-45 | -80 | 0 | -20 |  |  | ref_point | center
-45 | -80 | 0 | -20 |  |  | calculate_and_record | rotation_error_v_and_px_delta
-45 | -80 | 0 | -20 |  |  | calculate_and_record | crosshairs
-45 | -80 | -15 | 0 |  |  | align | horizontal_top
-45 | -80 | -15 | 0 |  |  | align | horizontal_bottom
-45 | -80 | -15 | 0 |  |  | ref_point | center
-45 | -80 | -15 | 0 |  |  | calculate_and_record | rotation_error_h_and_px_delta
-45 | -80 | -15 | 0 |  |  | calculate_and_record | crosshairs
-45 | -80 | 0 | -5 |  |  | ref_point
-45 | -80 | 0 | -10 |  |  | ref_point
-45 | -80 | 0 | -15 |  |  | ref_point
-45 | -80 | -5 | 0 |  |  | ref_point
-45 | -80 | -5 | -5 |  |  | ref_point
-45 | -80 | -5 | -10 |  |  | ref_point
-45 | -80 | -5 | -15 |  |  | ref_point
-45 | -80 | -10 | 0 |  |  | ref_point
-45 | -80 | -10 | -5 |  |  | ref_point
-45 | -80 | -10 | -10 |  |  | ref_point
-45 | -80 | -10 | -15 |  |  | ref_point